| **ASSAY** | **FULL NAME** | **METHODOLOGY** | **MANUFACTURER** | **LICENSE #** | **APPROVAL DATE** | **SCREENING / CONFIRMATORY** |
| --- | --- | --- | --- | --- | --- | --- |
| HBsAg | Alinity s HBsAg | CMIA | Abbott Laboratories | 2094 | 6/14/19 | Screening |
| HCV | Alinity s Anti-HCV | CMIA | Abbott Laboratories | 2095 | 7/9/19 | Screening |
| HBc | Alinity s Anti-HBc | CMIA | Abbott Laboratories | 2095 | 8/2/19 | Screening |
| HTLV | Alinity s HTLV I/II | CMIA | Abbott Laboratories | 2095 | 6/29/19 | Screening |
| HIV | Alinity s HIV Ag/Ab | CMIA | Abbott Laboratories | 2095 | 7/23/19 | Screening |
| Chagas | Alinity s Chagas | CMIA | Abbott Laboratories | 2095 | 8/15/19 | Screening |
| NHCV NHIV NHBV | cobas MPX | RNA Polymerase Chain Reaction | Roche | 1636 | 4/1/19 | Screening |
| NWNV | cobas WNV | RNA Polymerase Chain Reaction | Roche | 1636 | 11/2/16 | Screening |
| Babesia | cobas Babesia | DNA/RNA Polymerase  Chain Reaction | Roche | 1636 | 3/2/20 | Screening |
| NZIK | cobas Zika | RNA Polymerase Chain Reaction | Roche | 1636 | 11/14/16 | Screening |
| ABO | Beckman Coulter Blood Grouping – Automated PK Systems | Micro-hemagglutination | Diagast | 1744 | 12/15/10 | Screening |
| ABY | Immucor Capture-R Ready Screen (Pooled Cells) – Automated Antibody Screening | Solid Phase System | Immucor | 0086 | 8/15/06 | Screening |
| CMV Total | Beckman Coulter PK CMV-PA System | Passive Particle Agglutination | Fujirebio Diagnostics, Inc | BK200476 | 10/19/20 | Screening |
| TP | Beckman Coulter PK PK7400 TP HA | Micro-hemagglutination | Newmarket Biomedical | BK180301 | 8/1/19 | Screening |
| Chlam/Gono | Gen-Probe Aptima Combo 2 | RNA Transcription Mediated Amplification | Gen-Probe | None Available | 2/2/09 | Screening |
| Avioq  HTLV-I/II | Anti-HTLV I/II | EIA | Avioq, Inc | 1856 | 3/26/12 | Alternate  Screening |
| Ortho HCV | Ortho HCV Version 3.0 ELISA Test System | EIA | Ortho | 1236 | 2/18/09 | Alternate  Screening |
| Ortho T.cruzi | Anti-T.Cruzi | EIA | Ortho-Clinical Diagnostics, Inc | 1236 | 12/13/06 | Alternate  Screening |
| RPR | ASi RPR Card Test | Rapid Plasma Reagin | Arlington Scientific, Inc. | BK30001 | 2/24/14 | Alternate  Screening |
| HBs CONF | Antibody to Hepatitis B Surface Antigen (Sheep) Alinity s HBsAg Confirmatory Assay | CMIA - Specific Antibody Neutralization | Abbott Laboratories | 2094 | 6/14/19 | Confirmatory |
| HIV-1/2 | Geenius HIV 1/2 | ICA | BioRad | 1109 | 5/16/03 | Confirmatory |
| Chagas ESA | ABBOTT ESA Chagas  Trypanosoma cruzi (e.coli, recombinant) Antigen | Enzyme Strip Assay | ABBOTT | 125361/23 | 11/18/11 | Supplemental Testing |
| HTLV Blot | MP Diagnostics HTLV Blot 2.4 Western Blot Assay | Western Blot | MP Biomedicals | 1897 | 12/11/14 | Supplemental Testing |
| CMV IgG and/or  CMV IgM | CMV IgG EIA and /or CMV IgM EIA | EIA | BioRad | NA | NA | Supplemental Testing |