| **ASSAY** | **FULL NAME** | **METHODOLOGY** | **MANUFACTURER** | **Catalog Number** | **Test System** | **LICENSE #** | **APPROVAL DATE** | **SCREENING / CONFIRMATORY** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HBsAg | Alinity s HBsAg | CMIA | Abbott Laboratories | 06P0260 | Abbott Alinity s | 2094 | 6/14/19 | Screening |
| HCV | Alinity s Anti-HCV | CMIA | Abbott Laboratories | 06P0460 | Abbott Alinity s | 2095 | 7/9/19 | Screening |
| HBc | Alinity s Anti-HBc | CMIA | Abbott Laboratories | 06P0660 | Abbott Alinity s | 2095 | 8/2/19 | Screening |
| HTLV | Alinity s HTLV I/II | CMIA | Abbott Laboratories | 06P0760 | Abbott Alinity s | 2095 | 6/29/19 | Screening |
| HIV | Alinity s HIV Ag/Ab | CMIA | Abbott Laboratories | 06P0160 | Abbott Alinity s | 2095 | 7/23/19 | Screening |
| Chagas | Alinity s Chagas | CMIA | Abbott Laboratories | 06P0850 | Abbott Alinity s | 2095 | 8/15/19 | Screening |
| NHCV NHIV NHBV | cobas MPX | RNA Polymerase Chain Reaction | Roche | 09040854190 | Roche  Cobas 8800 | 1636 | 4/1/19 | Screening |
| NWNV | cobas WNV | RNA Polymerase Chain Reaction | Roche | 09040927190 | Roche  Cobas 8800 | 1636 | 11/2/16 | Screening |
| Babesia | cobas Babesia | DNA/RNA Polymerase  Chain Reaction | Roche | 09040692190 | Roche  Cobas 8800 | 1636 | 3/2/20 | Screening |
| NZIK | cobas Zika | RNA Polymerase Chain Reaction | Roche | 09040676190 | Roche  Cobas 8800 | 1636 | 11/14/16 | Screening |
| ABO | Beckman Coulter Blood Grouping – Automated PK Systems | Micro-hemagglutination | Diagast | Anti-A = 17301  Anti-B = 17302  Anti-A,B = 17303  Anti-D = 17304  Anti-D (PK2) = 17306 | Beckman PK7400 | 1744 | 12/15/10 | Screening |
| ABY | Immucor Capture-R Ready Screen (Pooled Cells) – Automated Antibody Screening | Solid Phase System | Immucor | Plates = 0006436  Indicator Cells = 0006428 | Immucor IRIS | 0086 | 8/15/06 | Screening |
| CMV Total | Beckman Coulter PK CMV-PA System | Passive Particle Agglutination | Fujirebio Diagnostics, Inc | PA2300 | Beckman PK7400 | BK200476 | 10/19/20 | Screening |
| TP | Beckman Coulter PK PK7400 TP HA | Micro-hemagglutination | Newmarket Biomedical | B11186 | Beckman PK7400 | BK180301 | 8/1/19 | Screening |
| Avioq  HTLV-I/II | Anti-HTLV I/II | EIA | Avioq, Inc | Sent to Creative Testing Solutions | EIA | 1856 | 3/26/12 | Alternate Screening  (Donor Reentry) |
| Ortho HCV | Ortho HCV Version 3.0 ELISA Test System | EIA | Ortho | Sent to Creative Testing Solutions | Ortho VIP | 1236 | 2/18/09 | Alternate Screening / Supplemental Testing |
| Ortho T.cruzi | Anti-T.Cruzi | EIA | Ortho-Clinical Diagnostics, Inc | Sent to Creative Testing Solutions | EIA | 1236 | 12/13/06 | Alternate Screening  (Donor Reentry) |
| HBs CONF | Antibody to Hepatitis B Surface Antigen (Sheep) Alinity s HBsAg Confirmatory Assay | CMIA - Specific Antibody Neutralization | Abbott Laboratories | 06P0359 | Abbott Alinity s | 2094 | 6/14/19 | Confirmatory |
| HIV-1/2 | Geenius HIV 1/2 | ICA | BioRad | 72480 | Geenius | 1109 | 5/16/03 | Confirmatory |
| CAPTIA TP | CAPTIA Syphilis (T pallidum)-G | Trinity Biotech Jamestown, NY | EIA | Sent to ViroMed | EIA | K014233 | 1/24/02 | Supplemental Testing |
| Chagas ESA | ABBOTT ESA Chagas  Trypanosoma cruzi (e.coli, recombinant) Antigen | Enzyme Strip Assay | ABBOTT | Sent to Creative Testing Solutions | Enzyme Strip Immunoassay | 125361/23 | 11/18/11 | Supplemental Testing |
| HTLV Blot | MP Diagnostics HTLV Blot 2.4 Western Blot Assay | Western Blot | MP Biomedicals | Sent to ViroMed | Western Blot | 1897 | 12/11/14 | Supplemental Testing |